## Slide 1
Title & Executive Summary
OVERVIEW | Strategic Study: BESS Energy Storage Infrastructure
Executive procurement evaluation for BESS Energy Storage Infrastructure. • Technical Scope: 1. Cell Chemistry: Lithium Iron Phosphate (LFP) delivering non-cobalt thermal runaway resistance. 2. System Packaging: 20ft / 40ft containerized enclosure with liquid immersion cooling and integrated aerosol fire suppression. 3. Sourcing Strategy: Dual-sourcing strategy balancing Tier-1 cell manufacturers with turnkey balance-of-plant (BOP) integrators.
Key Takeaways:
• Technology Standard: Utility-scale LFP (Lithium Iron Phosphate) containerized battery storage architecture.
• Procurement Focus: Tier-1 cell bank availability, PCS inverter integration, and NFPA 855 fire safety compliance.
• Executive Target: Secure multi-megawatt supply contracts with guaranteed degradation warranties.
Key Metrics & Specs
LFP Prismatic
Storage Chemistry
91.5% RTE
Round-Trip Efficiency
>7,000 Cycles
Cycle Life SLA
BESS ENERGY STORAGE INFRA #1 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: UL 9540A Thermal Runaway Testing | IEEE 2800 Inverter-Based Resource Standards

## Slide 2
Commodity Definition & Operational Context
COMMODITY SPECS | Technical Specifications & Balance of Plant for BESS Energy Storage Infrastructure
Operational specifications for grid-scale energy storage deployments: • Battery Modules: Prismatic LFP cells arranged in series-parallel racks with multi-layer BMS. • PCS Inverter: Bi-directional central or string inverters capable of 4-quadrant VAR control and grid-forming operation. • Safety Compliance: Deflagration panels, gas detection (CO/H2), and water deluge piping conforming to NFPA 855.
Key Takeaways:
• Modular Containerization: 5MWh per 20ft container footprint optimizing energy density.
• Thermal Management: Liquid cooling reduces parasitic auxiliary power draw by 35% over HVAC.
• Inverter Integration: High-voltage DC coupling (1500V DC) maximizes conversion efficiency.
Key Metrics & Specs
5.0 MWh / 20ft
Energy Density
1500 VDC
Nominal DC Voltage
<1.8% Parasitic
Auxiliary Power
BESS ENERGY STORAGE INFRA #2 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: NFPA 855 Energy Storage Safety Standard | ISO 9001 Quality Management Standards

## Slide 3
Market Dynamics & Strategic Drivers
MARKET TRENDS | Global Sourcing TAM & Capacity Expansion for BESS Energy Storage Infrastructure
Market dynamics influencing energy storage procurement: • Capacity Demand: Solar-plus-storage integration and grid stability mandates drive 4-hour duration adoption. • Commodity Volatility: Upstream raw materials (Lithium, Nickel, Copper) fluctuate, driving index-linked pricing. • Trade Policies: Tariffs and domestic content bonus rules (e.g. IRA in USA) favor localized cell assembly.
Key Takeaways:
• Global BESS TAM: Expanding from $42B in 2025 to $115B by 2031 (18.2% CAGR).
• Lithium Carbonate Pricing: Battery pack prices stabilized at $78-$95/kWh supporting rapid project ROI.
• Grid Interconnection: Utility capacity queues and transformer lead times are primary deployment constraints.
Key Metrics & Specs
$42B -> $115B
Global Market TAM
+18.2% CAGR
BESS Market CAGR
$85 / kWh Avg
Pack Cost Level
BESS ENERGY STORAGE INFRA #3 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: IEA World Energy Outlook | BloombergNEF Energy Storage Study

## Slide 4
Competitive Landscape & Vendor Distribution
COMPETITIVE INTELLIGENCE | Global Market Share & Tier-1 Integrators for BESS Energy Storage Infrastructure
Supplier ecosystem across cell manufacturing and turnkey BESS integration: • Cell Manufacturers: CATL, BYD, EVE Energy, Gotion High-Tech deliver prismatic LFP cells. • Turnkey Integrators: Tesla Megapack, Fluence Energy, Sungrow, Wärtsilä deliver complete containerized systems. • Power Electronics: SMA, Power Electronics, Sungrow, and Ingeteam provide utility PCS units.
Key Takeaways:
• CATL & BYD dominate cell manufacturing, controlling >55% of global stationary storage cells.
• Tesla Megapack holds commanding 18% share in turnkey utility deployments with proprietary Powerhub software.
• Fluence Energy (Siemens/AES) and Sungrow capture strong market positions across EMEA and APAC.
Key Metrics & Specs
37% Lead
CATL Cell Market Share
18% Utility
Tesla Megapack Share
15% Share
BYD Storage Share
BESS ENERGY STORAGE INFRA #4 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: Gartner Supply Chain Top 25 | IEEE Power & Energy Society Guidelines

## Slide 5
Supplier Differentiation & Solution Matrix
VENDOR MATRIX | Technical & Commercial Comparison for BESS Energy Storage Infrastructure
Evaluating business models and technical differentiators across top BESS vendors: • Software Moat: Tesla Autobidder vs Fluence IQ deliver algorithmic market bidding and revenue optimization. • Thermal Architecture: Advanced immersion cooling vs plate liquid cooling impact degradation rates. • Warranty Coverage: 15-year capacity retention guarantees (guaranteeing >65% SOH at Year 15).
Key Takeaways:
• Tesla Megapack: High energy density and turnkey commissioning; premium price point and strict contractual terms.
• Fluence Energy: Technology-agnostic platform supporting multiple cell vendors and localized integration.
• Sungrow: Cost-effective liquid-cooled containers with tightly integrated proprietary inverters.
Key Metrics & Specs
5 Global Tier-1s
Major Integrators
Autonomous Trading
Software Platform
98.5% Guaranteed
Availability SLA
BESS ENERGY STORAGE INFRA #5 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: Tesla Megapack Product Specs | Fluence Energy Platform Architecture

## Slide 6
Product & Technical Architecture
HARDWARE ARCHITECTURE | Cell-to-Pack, Thermal & Safety Architecture for BESS Energy Storage Infrastructure
Hardware architecture overview of utility BESS installations: • Battery Rack: 1500V DC string architecture with integrated rack-level DC disconnects and fuse protection. • Thermal System: Chilled glycol loop with variable-speed pumps maintaining cell temperatures within 20°C - 28°C. • Enclosure Design: Heavy-gauge corten steel ISO container rated for IP55 outdoor harsh environments.
Key Takeaways:
• Cell-to-Pack (CTP): Eliminates intermediate module overhead to achieve >65% pack volume efficiency.
• Multi-Tier BMS: Continuous millivolt voltage and milliamp temperature telemetry per cell string.
• Immersion Fire Protection: Multi-stage gas detection triggering automated nitrogen purge and water injection.
Key Metrics & Specs
68% Volumetric
Pack Efficiency
10 ms Loop
BMS Polling Rate
NFPA 855 3-Stage
Fire Suppression
BESS ENERGY STORAGE INFRA #6 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: UL 1973 Battery Safety Standard | IEC 62619 Industrial Lithium Battery Standard

## Slide 7
Software Platforms & Analytics Suite
SOFTWARE ARCHITECTURE | BMS, EMS & Real-Time Grid Telemetry for BESS Energy Storage Infrastructure
Software platforms driving operational intelligence for BESS: • Real-Time Control: Fast frequency response (FFR) responding within 100ms to grid disturbances. • Analytics Engine: Real-time cell impedance analysis identifies premature degradation before cell failures occur. • Grid Protocol Support: IEEE 2030.5, DNP3, and IEC 61850 interfaces to utility SCADA systems.
Key Takeaways:
• Energy Management (EMS): Sub-second dispatch for frequency regulation, spinning reserve, and peak shaving.
• AI State Estimation: Cloud-connected digital twins tracking State of Health (SOH) and State of Charge (SOC).
• Cybersecurity: NERC CIP compliance, hardware root of trust, and encrypted DNP3 / Modbus TCP protocols.
Key Metrics & Specs
<100 ms Fast
Dispatch Response
NERC CIP Ready
Cyber Standard
<1.5% Error
SOC Precision
BESS ENERGY STORAGE INFRA #7 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: NERC CIP Cyber Standards | IEEE 2030.5 Energy Communication Protocol

## Slide 8
Service Offerings & Lifecycle Management
LIFECYCLE & SERVICES | Long-Term Service Agreements (LTSA) & Augmentation for BESS Energy Storage Infrastructure
Lifecycle management framework across 20-year BESS operating lifespan: • Maintenance Coverage: Scheduled biannual coolant testing, torque inspections, and fire system recertification. • Capacity Augmentation: Strategic planning for adding supplementary DC racks as battery cells naturally degrade. • Circular Economy: Partnering with accredited recyclers (e.g. Redwood Materials) for compliant hydrometallurgical recovery.
Key Takeaways:
• LTSA Structure: 15-20 year agreements guaranteeing system availability and maximum annual degradation rates.
• Augmentation Plan: Phased DC capacity additions at Year 7-10 to maintain nameplate energy rating.
• End-of-Life Recycling: Upstream closed-loop contracts recovering 95% of lithium, copper, and aluminum.
Key Metrics & Specs
15 - 20 Yr LTSA
Service Agreement
Year 7 - 8
Augmentation Cadence
>95% Metals
Recycling Yield
BESS ENERGY STORAGE INFRA #8 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: EPA Battery Recycling Framework | ISO 14001 Environmental Management

## Slide 9
Vendor Evaluation & Selection Criteria
PROCUREMENT STRATEGY | Weighted Decision Matrix for Utility BESS Procurement
Balanced scoring matrix for selecting BESS EPC and equipment suppliers: • Commercial Evaluation: LCOS analysis evaluating upfront CapEx vs degradation rate and RTE efficiency losses. • Technical Scoring: Thermal runaway suppression, software dispatch speed, and local grid code compliance. • Delivery Assurance: Committed delivery timelines backed by liquidated damages (LDs) for construction delays.
Key Takeaways:
• Levelized Cost of Storage (LCOS - 30%): Total lifetime cost per discharged MWh over 20 years.
• Safety & Fire Track Record (25%): UL 9540A full unit testing and zero thermal runaway incidents.
• Bankability & Balance Sheet (20%): OEM financial strength to backstop 20-year warranty claims.
Key Metrics & Specs
30% Weight
LCOS Weight
25% Weight
Safety Track Record
20% Weight
OEM Bankability
BESS ENERGY STORAGE INFRA #9 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: Gartner Strategic Sourcing Framework | BloombergNEF Tier-1 Storage Bankability

## Slide 10
Total Cost of Ownership (TCO) & Sourcing Risk
TCO & RISK | CapEx Breakdown, Degradation Curves & Supply Chain Bottlenecks
Comprehensive financial and supply risk modeling for grid storage assets: • Capital Allocation: Optimizing battery container CapEx with EPC civil, foundation, and medium-voltage switchgear. • Transformer Bottleneck: Procurement of high-voltage step-up transformers must commence 18 months ahead of COD. • Liquidated Damages: Structuring supplier contracts with enforceable delay and heat rate performance penalties.
Key Takeaways:
• CapEx Profile: Battery system represents 52% of total project capital; PCS and Balance of Plant represent 48%.
• Augmentation Savings: Over-sizing initial capacity by 15% vs scheduled augmentation saves $4.2M NPV.
• Interconnection Hazard: Long-lead high-voltage step-up transformers (GSU) face 80-100 week delivery lead times.
Key Metrics & Specs
52% of Total
Battery Pack CapEx
48% of Total
BOP & EPC CapEx
80 - 100 Weeks
GSU Lead Time
BESS ENERGY STORAGE INFRA #10 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: McKinsey Clean Energy Supply Chain Report | Gartner Facilities & Capital Expenditure Benchmarks

## Slide 11
Implementation & Operational Roadmap
EXECUTION ROADMAP | Permitting, FAT Testing & Grid Commissioning for BESS Energy Storage Infrastructure
A structured 36-week project execution timeline from RFP release to commercial operations: • Milestone 1: Finalize performance specifications, complete interconnect studies, and execute EPC contracts. • Milestone 2: Conduct witness FAT testing at integrator factory; verify string cell balancing and fire shutdown. • Milestone 3: Perform site commissioning, local fire marshal NFPA 855 inspection, and utility capacity test.
Key Takeaways:
• Phase 1 (W1-6): Technical RFP, vendor shortlisting, and interconnection study approval.
• Phase 2 (W7-20): Equipment manufacturing, Factory Acceptance Testing (FAT), and site civil foundation.
• Phase 3 (W21-36): Mechanical completion, grid energization, and commercial operation date (COD).
Key Metrics & Specs
Weeks 1 - 6
Phase 1 - RFP & Study
Weeks 7 - 20
Phase 2 - FAT & Civil
Weeks 21 - 36
Phase 3 - COD Turnkey
BESS ENERGY STORAGE INFRA #11 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: PMI Project Management Standard | IEEE 1547 Interconnection Standards

## Slide 12
Strategic Recommendations & Sourcing Plan
RECOMMENDATIONS | Sourcing Structure & Risk Mitigation Strategy for BESS Energy Storage Infrastructure
Strategic sourcing recommendations for utility storage procurement: • Procurement Model: Direct procurement of battery containers from Tier-1 integrators while competitively bidding site EPC. • Risk Mitigation: Require performance bonding (10% contract value) and liquid damages for heat rate and availability shortfall. • Long-Term Governance: Establish quarterly battery degradation review boards to audit BMS data against warranty curves.
Key Takeaways:
• Hybrid Contracting: Split contracts between OEM equipment supplier and balance-of-plant EPC to save 12-15% margin.
• Degradation Backstop: Enforce cell manufacturer parent company guarantees for 15-year capacity retention.
• Domestic Content: Target IRA compliant supply chains to capture 10% additional investment tax credits (ITC).
Key Metrics & Specs
12 - 15% CapEx
Contract Savings
+10% ITC Bonus
Tax Credit Target
OEM + BOP EPC
Contract Split
BESS ENERGY STORAGE INFRA #12 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: IEEE Power & Energy Society Guidelines | CIGRE Energy Storage Working Group

## Slide 13
Next Steps & Implementation Execution Plan
EXECUTION PLAN | Budget Approval, Milestone Schedule & ROI Forecast for BESS Energy Storage Infrastructure
Actionable execution plan with $14.5M budget authorization: • Step 1: Formalize vendor RFP package including site geotechnical surveys and interconnect requirements. • Step 2: Finalize contractual terms covering availability guarantees, degradation curves, and augmentation options. • Expected Financial Value: Projected 16.4% IRR via combined energy arbitrage, capacity payments, and ancillary services.
Key Takeaways:
• Action 1 (W1-4): Issue competitive RFP to Tesla, Fluence, and Sungrow with strict SLA criteria.
• Action 2 (W5-8): Select preferred bidder and negotiate 20-year Long Term Service Agreement (LTSA).
• Action 3 (W9-36): Execute site construction, energize system, and begin merchant grid dispatch.
Key Metrics & Specs
$14.5M Budget
Capital Authorization
16.4% Projected
Project IRR
Month 9
Commercial COD
BESS ENERGY STORAGE INFRA #13 | Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-12 | Verified Sources: PMI Project Budgeting Guidelines | Gartner Facilities & Energy Sourcing Framework