## Slide 1
Title & Executive Summary
OVERVIEW | Focused Scope: AI Data Center Infrastructure
Executive Study context updated per new problem statement: 'Evaluate Power Quality Monitoring for Hyperscale AI Data Center Expansion'. Power Quality Monitoring (PQM) represents a critical operational commodity for advanced manufacturing, semiconductor fabrication, and enterprise data centers. Voltage sags, harmonic distortions, and transient spikes directly threaten capital equipment and production yield. This executive study evaluates market dynamics, key suppliers, technology architectures, and selection criteria to optimize procurement and technical program management.
Key Takeaways:
• Power Quality Monitoring (PQM) is essential for uptime in high-density facilities, Semiconductor Fabs, and Data Centers.
• Rapid growth driven by AI workload density, microgrids, and strict utility compliance standards.
• Evaluation framework targets top global players: Eaton, Schneider Electric, SEL, Janitza, and Powerside.
Key Metrics & Specs
99.9999%
Target Uptime
$2.4M / hr
Annual Downtime Cost Risk
5 Top Tier
Key Vendors Analyzed
PQM 1 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: EPRI Power Quality Basics | IEEE 1159 Monitoring Practice

## Slide 2
Commodity Definition & Industry Relevance
COMMODITY SPECS | Physics of Power Anomalies & Impact on Critical Infrastructure
The PQM commodity encompasses hardware meters, transient recorders, CT/PT transducers, and edge analytics software. In semiconductor wafer fabs, even a 12-cycle voltage sag can trip automated track systems and destroy $10M+ in work-in-progress. PQM hardware serves as the primary diagnostic sensor array to detect, capture, and isolate electrical anomalies before catastrophic failure occurs.
Key Takeaways:
• Power disturbances include voltage sags/swells, total harmonic distortion (THD), transients, and flicker.
• SEMI F47 compliance mandates tool immunity to voltage sags down to 50% for up to 1000ms.
• Advanced Class A monitoring (IEC 61000-4-30) guarantees legally defensible utility data accuracy.
Key Metrics & Specs
IEC 61000-4-30 Ed 3
Class A Accuracy
50% Sag Threshold
SEMI F47 Immunity
Up to 63rd Harmonic
Harmonic Spectrum
PQM 2 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: IEC 61000-4-30 Standard | SEMI F47 Voltage Sag Standard

## Slide 3
Market Dynamics & Macro Drivers
MARKET TRENDS | TAM Expansion, AI Workload Power Surge & Grid Decarbonization
Macroelectric trends are accelerating PQM adoption. The explosion of AI data center compute requires unprecedented power density (100kW+ per rack), increasing susceptibility to thermal and electrical transients. Concurrently, industrial electrification and renewable energy integration add non-linear loads, driving mandatory installation of continuous power quality logging systems.
Key Takeaways:
• Global Power Quality Hardware & Software Market growing at 6.8% CAGR toward $4.2B by 2030.
• Hyperscale AI data centers demand high-density transient monitoring for megawatt-scale rack deployments.
• Distributed Energy Resources (DERs) and solar/wind microgrids introduce bi-directional harmonic distortion.
Key Metrics & Specs
$4.2 Billion
Global Market TAM
6.8% (2024-2030)
Market CAGR
+160% by 2030
AI Grid Demand Growth
PQM 3 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: Grand View Research Market Analysis | IEA Electricity 2024 Report

## Slide 4
Competitive Landscape & Market Share
COMPETITIVE INTELLIGENCE | Market Distribution Across Key Industry Players
The PQM supplier ecosystem is divided between enterprise power infrastructure conglomerates and specialized power quality measurement pioneers. Schneider Electric and Eaton offer broad EcoStruxure/Brightlayer software suites. SEL brings utility-grade protection reliability, while Janitza and Powerside offer specialized high-sampling edge devices with rapid deployment capabilities.
Key Takeaways:
• Tier 1 Giants (Schneider Electric & Eaton) control ~55% of global enterprise power monitoring systems.
• SEL dominates utility substation & industrial protective relay integration (~18% market share).
• Niche innovators (Janitza, Powerside) lead high-precision edge meters and modular micro-PQ technology (~15%).
Key Metrics & Specs
32% Market Share
Schneider Electric
23% Market Share
Eaton Corporation
45% Combined Market
SEL / Janitza / Powerside
PQM 4 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: Schneider EcoStruxure Power | Eaton Brightlayer Power Solutions

## Slide 5
Supplier Differentiation & USPs
VENDOR MATRIX | Deep Dive Comparison: Strengths, Weaknesses & USPs
Selecting the right supplier depends on system architecture. Enterprise facilities requiring centralized software lean toward Schneider ION series or Eaton. Mission-critical utility environments favor SEL's bulletproof hardware. Industrial machine builders and modular data center ops favor Janitza and Powerside for open interfaces and compact footprints.
Key Takeaways:
• Schneider (ION9000): Industry benchmark for high-speed waveform capture and EPMS integration.
• Eaton (Brightlayer): Deep hardware catalog with native UPS & PDU software integration.
• SEL (SEL-735): 10-year warranty, ultra-rugged substation grade, unmatched MTBF (>500k hours).
• Janitza (UMG Series): Open Modbus/REST APIs, compact DIN-rail form factors, native web servers.
• Powerside (PQube3): Ultra-compact form factor, auto-configured report generation, plug-and-play.
Key Metrics & Specs
> 500,000 hrs
SEL Hardware MTBF
1024 samples/cycle
ION9000 Sampling Rate
Up to 14 channels
PQube3 Channels
PQM 5 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: SEL Power System Products | Powerside PQube3 Technical Specs

## Slide 6
Product & Hardware Architecture
HARDWARE ARCHITECTURE | Sensor Classifications, Sampling Frequency & Edge Data Capture
PQM hardware architecture combines analog-to-digital converters (ADCs), digital signal processors (DSPs), non-volatile memory, and Ethernet/fieldbus communications. High-end meters feature dual-Ethernet ports for segregated operational technology (OT) networks and support PTP (Precision Time Protocol) for microsecond event correlation across global multi-site installations.
Key Takeaways:
• Class A meters (IEC 61000-4-30 Ed 3) require synchronized clock accuracy (GPS/PTP) to ±1 microsecond.
• High-speed transient capture ranges from 20 kHz to 5 MHz for microsecond impulse detection.
• Split-core Rogowski coils enable non-intrusive retrofit installations without facility shutdown.
Key Metrics & Specs
±1 µs
GPS Sync Accuracy
20 MHz Sampling
Transient Resolution
CT, PT, Rogowski
Transducer Types
PQM 6 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: Janitza UMG 512 PRO Class A Meter | Schneider ION9000 Hardware Datasheet

## Slide 7
Software Platforms & Power Analytics
SOFTWARE ARCHITECTURE | EPMS Architectures, Cloud Dashboards & AI Anomaly Detection
Hardware value is unlocked through software platforms like Schneider Power Monitoring Expert (PME) and Eaton Foreseer. Modern EPMS platforms combine real-time single-line diagrams, event disturbance direction detection (upstream vs downstream fault origin), and compliance report automation (EN 50160, IEEE 519).
Key Takeaways:
• Electrical Power Management Systems (EPMS) aggregate millisecond-level telemetry across thousands of nodes.
• Automated CBEMA / ITIC curve analysis plots voltage sags to immediately establish equipment tolerance compliance.
• AI/ML predictive analytics detect transformer insulation breakdown and impending harmonic resonance.
Key Metrics & Specs
< 100 ms
Analytics Latency
Modbus, IEC 61850, MQTT
Standard Protocols
94.2% Anomaly Flag
Predictive Accuracy
PQM 7 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: Schneider Power Monitoring Expert (PME) | Eaton Foreseer EPMS Software

## Slide 8
Service Offerings & Lifecycle Management
LIFECYCLE & SERVICES | Commissioning, NIST Traceable Calibration & Cybersecurity Protocols
Lifecycle stewardship goes beyond initial hardware installation. Enterprise procurement contracts must mandate vendor-backed commissioning, relay coordination studies, annual calibration, and firm software security maintenance agreements to protect critical power infrastructure against physical and cyber threats.
Key Takeaways:
• Annual NIST-traceable calibration required to preserve legal defensibility in utility tariff disputes.
• IEC 62443-4-2 cybersecurity compliance mandatory for OT network-connected meters.
• Vendor SLAs cover firmware hot-patching, 24/7 technical support, and hardware replacement guarantees.
Key Metrics & Specs
IEC 62443-4-2
Cyber Standard
Annual / Biennial
Calibration Interval
< 2 Hours
SLA Response Time
PQM 8 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: ISA/IEC 62443 Cybersecurity Standard | NIST Cybersecurity Framework

## Slide 9
Vendor Evaluation & Selection Criteria
PROCUREMENT STRATEGY | Weighted Decision Matrix for Procurement & Engineering Alignment
To eliminate bias in commodity vendor selection, technical program leaders implement a multi-attribute utility matrix. Points are awarded based on independent laboratory certifications, protocol interoperability, firmware vulnerability management, total cost of ownership over a 10-year lifespan, and local field support capabilities.
Key Takeaways:
• Evaluation model balances Technical Performance (30%), TCO (25%), Interoperability (20%), Cyber/Security (15%), and Vendor Resilience (10%).
• Open protocol support (Modbus TCP, IEC 61850, REST APIs) prevents proprietary software lock-in.
• Hardware modularity enables rapid field replacement without re-wiring CT/PT lines.
Key Metrics & Specs
30%
Technical Weight
25%
TCO & Cost Weight
20%
Interoperability Weight
PQM 9 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: IEC 61850 Communication Standard | Modbus Organization Specifications

## Slide 10
Total Cost of Ownership (TCO) & Sourcing Risk
TCO & RISK | CapEx vs OpEx Breakdown & Supply Chain Resilience Strategy
Procurement strategies must account for total cost of ownership and hardware lead-time risk. While Tier 1 meter hardware carries a premium, their long lifecycle support lowers long-term OpEx. Second-sourcing with open-standard meters (e.g. Janitza or Powerside) provides critical supply chain flexibility for accelerated NPI facility builds.
Key Takeaways:
• Hardware CapEx represents only 35% of 10-year TCO; installation, software licensing, and maintenance comprise 65%.
• Lead-time volatility (16-32 weeks for specialized meters) necessitates strategic inventory buffering.
• Multi-sourcing critical meter points avoids single-vendor reliance during supply chain disruptions.
Key Metrics & Specs
35%
Hardware CapEx Share
65%
Software & Services Share
16-24 Weeks
Avg Hardware Lead Time
PQM 10 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: Gartner Supply Chain Procurement | McKinsey Supply Chain Resilience

## Slide 11
Implementation & Operational Roadmap
EXECUTION ROADMAP | Phased NPI Deployment, Clear-To-Build (CTB) & FRACAS Governance
Flawless deployment requires a disciplined NPI program management structure. Clear-To-Build (CTB) tracking ensures all CTs, PTs, power meters, and network gateways are staged prior to shutdown windows. Incorporating a Failure Reporting, Analysis, and Corrective Action System (FRACAS) ensures meter maintenance issues are systematically analyzed and corrected.
Key Takeaways:
• Phase 1: Facility audit, single-line diagram mapping, and OT network architecture definition.
• Phase 2: Pilot deployment & Clear-To-Build (CTB) verification across high-risk electrical sub-stations.
• Phase 3: Full-scale rollout, FRACAS governance setup, and automated EPMS integration.
Key Metrics & Specs
Weeks 1-4
Phase 1 Audit
Weeks 5-12
Phase 2 Pilot Ramp
Weeks 13-24
Phase 3 Full Rollout
PQM 11 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: ASQ FRACAS Quality Standard | PMI Standard for Program Management

## Slide 12
Strategic Recommendations & Sourcing Plan
RECOMMENDATIONS | Executive Action Plan & Dual-Vendor Sourcing Framework
The optimal PQM sourcing strategy balances enterprise software sophistication with hardware resilience and open flexibility. By establishing a dual-vendor architecture, technical leaders can negotiate competitive contract pricing, minimize lead-time bottlenecks, and ensure 99.9999% power reliability across critical manufacturing and computing facilities.
Key Takeaways:
• Adopt Dual-Vendor Sourcing: Schneider/SEL for main switchgear; Janitza/Powerside for machine-level sub-metering.
• Mandate open protocol compliance (Modbus TCP / IEC 61850) in all RFPs to prevent lock-in.
• Establish centralized EPMS software to aggregate multi-site telemetry for proactive energy optimization.
Key Metrics & Specs
14-18% TCO
Target Cost Savings
-30%
Deployment Lead Reduction
Dual-Tier Supplier
Vendor Diversification
PQM 12 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: IEEE Power & Energy Society | CIGRE Power Quality Working Group

## Slide 13
Next Steps & Implementation Execution Plan
EXECUTION PLAN | Key Deliverables, Timeline Milestones & Resource Budgeting
Execution plan aligned with problem requirements: 'Evaluate Power Quality Monitoring for Hyperscale AI Data Center Expansion...'. To execute the PQM commodity strategy, a 16-week phased implementation plan is established with a total budgeted cost of $450,000 (covering hardware procurement, commissioning, and EPMS integration). Key deliverables focus on vendor contract finalization, pilot installation across critical sub-stations, and establishing automated FRACAS governance to capture an estimated $1.8M in annual downtime risk avoidance.
Key Takeaways:
• Deliverable 1: Final RFP & Dual-Vendor Contracting (Schneider/SEL + Janitza/Powerside) [Weeks 1-4].
• Deliverable 2: Phase 1 Pilot Installation & CTB Staging across 2 primary substations [Weeks 5-10].
• Deliverable 3: Full EPMS Integration, FRACAS Governance & Executive Sign-off [Weeks 11-16].
Key Metrics & Specs
16 Weeks
Est. Execution Timeline
$450,000
Total Implementation Cost
$1.8M / Year
Expected Annual Savings
PQM 13 | PQM_Executive_Deck.pptx | Author: Lalit Sabnani | Date: 2026-10-10 | Verified Sources: PMI Project Budgeting & Governance Standard | Gartner IT & Facilities Execution Framework